


Permit to Work - Hot Work

	Hot Work Permit Number



	Issued by 
	Cross reference to any overlapping permits



	Location of job



	Description of job



	Risks as shown by risk assessment



	PPE Requirements

	

	Control measures checklist
	Yes
	No
	Who is responsible 

	Area has been cleared of combustible materials and swept
	
	
	

	Walls, floors, remaining fittings and gulleys suitably protected 
	
	
	

	Openings in walls, floors, ceilings, grids etc. protected/covered
	
	
	

	Suitable fire extinguishers, sand, fire blanket, water supply to hand
	
	
	

	Means of sounding fire alarm to hand if no break glass point
	
	
	

	Warning /exclusion notices posted at suitable locations
	
	
	

	Operatives instructed in means of escape and in raising fire alarm
	
	
	

	Safety checks made during work and one hour after completion
	
	
	

	
	
	
	

	Testing for oxygen/carbon dioxide/carbon monoxide needed
	
	
	

	Any other precautions necessary (detail)


	
	
	

	Issues by (on behalf of Cartwright Pond )

	

	Name of Contractor , Person, Receiving Permit

	

	Permit valid from (time) 

	to (time)

	Date 

	Signatures

	Contractor’s representative (confirming specified precautions taken)


	Each contractor’s employee (that they have read, understood and accept the risk assessment &permit)


	Signature of CP  Manager on completion *or suspension (*delete as appropriate)
	Date and time

	
	


