Cartwright Pond
Hot Work Procedure
Hot work will be required where other means of carrying out the work have been investigated and found not to be suitable.

Hot Working may be allowed following express approval from the Managing Director.
The Managing Director must be consulted in the first instance where the possibility of hot work may be required for further information.

Where hot work will be required and approval is given the following will apply.

· A risk assessment to be carried out

· The work area cleared of flammable materials

· Heat resistant mats / blankets provided to protect surfaces

· Suitable fire extinguishers to be supplied

· The client informed of hot work

· Investigation of the effect on fire detection systems

· A permit system to be used to log the location, nature and time of the work and gain approval of the Client and Managing Director as applicable. Use the form provided
· The work site to be attended for a minimum of one hour after completion with thorough checks being made before leaving. The permit is to be signed, dated and the time noted of both completion and leaving the work area by the person carrying out the hot work, CPs Site Manager/Foreman and the Client.
